## ANNUAL TENDER 2026 - 2027
A - SCHEDULE
SL. NO. | MATCODE | MATERIAL NAME | MATERIAL DESCRIPTION | CERTIFICATION - MANUFACTURERS | CERTIFICATION - SUPPLIERS | MDR CLASSIFICATION | UNIT | APPROXIMATE ANNUAL QUANTITY | MANUFACTURER / BRAND
1 | 52001 | CAP NURSES DISPOSABLE | MATERIAL NAME: NURSE’S CAP (DISPOSABLE) MATERIAL: NON-WOVEN FABRIC GSM : 10 - 15 COLOUR : LIGHT BLUE PACKING INSTRUCTIONS: 50 PIECES IN A POLYTHENE BAG 2 BAGS PACKED IN A CARDBOARD BOX (TOTAL 100 PIECES PER BOX) | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices) | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 564000
2 | 52002 | CAP SURGEONS DISPOSABLE | MATERIAL NAME: SURGEON'S CAP (DISPOSABLE) MATERIAL: NON-WOVEN FABRIC GSM : 25 - 30 COLOUR : LIGHT BLUE PACKING INSTRUCTIONS: 50 PIECES IN A POLYTHENE BAG 2 BAGS PACKED IN A CARDBOARD BOX (TOTAL 100 PIECES PER BOX) | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices) | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 396000
3 | 59104 | COVER SHOE SMALL DISPOSABLE | MATERIAL NAME: SHOE COVER (DISPOSABLE) MATERIAL: NON-WOVEN FABRIC GSM: 30 SIZE: SMALL COLOUR: GREEN PACKING INSTRUCTIONS: 50 PAIRS IN A POLYTHENE BAG (TOTAL 100 PIECES PER BAG) | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices) | Distribution license, ISO 9001, State Drug Control Registration | A | PAIRS | 768000
4 | 53023 | FACE MASK TIE TYPE 3 LAYERED DISPOSABLE | MATERIAL NAME: DISPOSABLE FACE MASK MATERIAL: 3-PLY NON-WOVEN FABRIC (OUTER, MIDDLE FILTER, INNER LAYER) TYPE: TIE-ON (WITH TIE STRINGS) INTEGRATED NOSE CLIP FOR BETTER FIT PACKING INSTRUCTIONS: 50 MASKS IN A CARDBOARD BOX 40 BOXES IN A CARTON (TOTAL 2000 MASKS PER CARTON) | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance (BFE & PFE) | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 720000
5 | 54044 | SHEET HDPE 43" X 31" X 120G | HDPE SHEET SIZE : 43" X 31" X 120 GAUGE QUALITY : A1 VIRGIN PACKING INSTRUCTIONS: 25 KGS PER BAG | NR | NR | NR | KGS | 98400
6 | 54033 | SHEETING PLASTIC GRAIN 135CM | PVC SHEETING NATURAL RAIN WEAR THICKNESS : 0.15 MM WIDTH : 54" (135 CM) COLOUR : NATURAL PACKING INSTRUCTIONS: ROLL OF 60 MTRS EACH | NR | NR | NR | MTRS | 7200
7 | 58005 | DRAPE DELIVERY KIT | MATERIAL NAME: DISPOSABLE ETO STERILIZED NORMAL DELIVERY DRAPE KIT CONTENTS: SURGICAL HAND TOWELS – 80 GSM (60 X 60 CM) – 2 NOS. SURGICAL GOWNS – 50 GSM – 2 NOS. GYNAE DRAPE – 50 GSM – 1 NO. BED UNDER PAD (BIG) – 50 GSM – 2 NOS. LEGGINGS – 50 GSM – 1 PAIR WRAP SHEET – 1 NO. PACKING INSTRUCTIONS: 12 KITS IN A CARTON BOX STERILIZATION METHOD: ETO ETHYLENE OXIDE) STERILIZED | CDSCO registration certificate under MDR- MD5, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Sterilization validation ISO 11135, Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | B | NOS | 12672
8 | 53004 | CLOTH MOP 75CM | MOP CLOTH SIZE : 72-75CM X 75-78CM QUALITY IN 2/10S X 2S OE WITH FOUR SIDE HEM, 28MM DIA HOLE IN THE CENTRE WITH DRILL CLOTH & DOUBLE STITCHING PACKING INSTRUCTIONS: 250 NOS PER BUNDLE | NR | NR | NR | NOS | 22500
9 | 53003 | CLOTH LONG CLOTH BLEACHED | NON-SHRINKABLE SOFT CLOTH FOR MAIN CAMPUS GOOD QUALITY LONG CLOTH WHITE 100% COTTON BLEACHED WITH 16 IMPRESSIONS OF CMC EMBLEM PER METRE SCREEN PRINTED IN TURQUOISE GREEN COLOUR WIDTH : 48” THREAD COUNTS : 40S X 40S REED/PICK : 132 X 72 TOLERANCE : +-3% PACKING INSTRUCTIONS: CLOTH TO BE SUPPLIED IN METRE FOLDS WITH CMC EMBLEM IN EVERY METRE FOLD & IN 30 MTRS PIECES ONLY | NR | NR | NR | MTRS | 62400
10 | 54019 | SHEET MATTRESS GENERAL WARDS | MATTRESS SHEET GENERAL WARD WHITE FOR RANIPET CAMPUS, SIZE : 172 X 260 CM, THREAD COUNTS : 40S X 40S REED/PICK : 100 X 80 CMC LOGO SCREEN PRINTED IN TURQUOISE GREEN COLOUR AS PER SAMPLE, POLYSTER YARN WEAVING FOR THE 2 SIDES, A TAG TO BE ATTACHED WITH DETAILS OF MONTH & YEAR OF MANUFUCATURING OR TO BE SCREEN PRINTED BENEATH THE BORDER. PACKING INSTRUCTIONS: 5 NOS IN A SEALED POLY BAG | NR | NR | NR | NOS | 38400
11 | 59011 | NEW BORN BABY SET | MATERIAL NAME: NEW BORN BABY SET (MADE OF FINE BANIYAN CLOTH) CONTENTS: BABY BLANKET – 105 CM X 95 CM – 1 NO. BABY TOWEL – 105 CM X 75 CM – 1 NO. BABY NAPKIN (3-LAYERED) WITH TAPES – 34 CM X 22 CM – 1 NO. BABY GOWN (WITH TAPES) – LENGTH 35 CM, FULL BODY LOOSE 65 CM – 1 NO. BABY CAP (WITH TAPES) – SIZE 28 CM X 11.5 CM – 1 NO. PACKING INSTRUCTIONS: PACKED IN A PLASTIC POUCH WITH CONTENT DETAILS LABELLED ON IT. MATERIAL AND PATTERN AS PER SAMPLE GIVEN. | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 14400
12 | 56057 | CLOTH GADA 125/127CM | CLOTH GADA UNBLEACHED 137 CMS WIDTH, YARN CONFIGURATION: 40S X 40S, REED/PICK CONSTRUCTION: 92 X 86, TOLERANCE: +/- 3% NOTE: CLOTH TO BE SUPPLIED IN METRE FOLDS WITH CMC LOGO SCREEN PRINTED IN TURQUOISE GREEN COLOUR IN EVERY METRE FOLD IN 30MTRS PIECES ONLY. | NR | NR | NR | MTRS | 37200
13 | 54013 | SHEET DRAW WHITE GENERAL | SHEET DRAW - WHITE - GENERAL FOR RANIPET CAMPUS IN 100% COTTON SIZE : 190 X 97 CM THREAD COUNTS - 40S X 40S REED/PICK : 105 X 93 TOLERANCE : +-3%, 2" BORDER & CMC HOSPITAL, VELLORE & EMBLEM PRINTED IN TURQUOISE GREEN COLOUR AS PER SAMPLE, A TAG TO BE ATTACHED WITH DETAILS OF MONTH & YEAR OF MANUFUCATURING OR TO BE SCREEN PRINTED BENEATH THE BORDER. PACKING INSTRUCTIONS: 10 NOS IN A SELAED POLY BAG | NR | NR | NR | NOS | 19200
14 | 59089 | GOWN PATIENT WHITE GENERAL WARD RANIPET CAMPUS | GOWN PATIENTS WHITE GENERAL WARD CMC MODEL IN 100% COTTON MATERIAL 40S COUNT REED/PICK - 92/88 OR MORE, WITH EMBLEM & C M C VELLORE, RANIPET CAMPUS SCREEN PRINTED IN TURQUOISE GREEN COLOUR ON THE LEFT SIDE OF CHEST. MEASUREMENTS: LENGTH - 53 1/2", SHOULDER - 22", GOAL WIDTH - 72", BODY LOOSE-30", SLEEVES HEIGHT - 12", SLEEVE LOOSE - 10 1/2", NECK - 21" | NR | NR | NR | NOS | 12000
15 | 80004 | AIR FRESHNER - BATHROOM | AIR FRESHNER - BATHROOM & TOILET - 10 GM MULTIFRAGRANGES | NR | NR | NR | NOS | 6912
16 | 80013 | BANDAGE - GAUZE - 4" X 10 CM X 4 M | MATERIAL NAME: BANDAGE – GAUZE DIMENSIONS: 4" X 10 CM X 4 M TYPE: NON-STARCHED COUNT (WEAVE): 24 WARP X 18 WEFT PACKING INSTRUCTIONS: 10 BANDAGES PER PACKET 100 PACKETS IN A POLY BUNDLE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 60000
17 | 80014 | BANDAGE - GAUZE - 6" X 15 CM X 4 M - RB034C | MATERIAL NAME: BANDAGE – GAUZE DIMENSIONS: 6" X 15 CM X 4 M TYPE: NON-STARCHED COUNT (WEAVE): 24 WARP X 18 WEFT PACKING INSTRUCTIONS: 10 BANDAGES PER PACKET 100 PACKETS IN A POLY BUNDLE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 144000
18 | 80070 | BAG - POLYTHENE - GREEN - 220 GSM - 16" X 17" | BAG - POLYTHENE - GREEN - 220 GSM - 16" X 17" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 23-25 BAGS/ KG | NR | NR | NR | NOS | 720
19 | 80071 | BAG - POLY - GREEN - 180GSM - 23" X 23" - PACK OF 5 KG | BAG - POLY - GREEN - 180GSM - 23" X 23" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 11-13 BAGS/ KG | NR | NR | NR | NOS | 5640
20 | 80072 | BAG - POLYTHENE - GREEN - 31" X 35" - 5 KG | BAG - POLYTHENE - GREEN - 31" X 35" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 5-7 BAGS/ KG | NR | NR | NR | NOS | 15360
21 | 80074 | BAG - ZIPLOCK - POLYTHENE - 10 X 10CM | BAG - ZIPLOCK - POLYTHENE - 10 X 10 CM PACKING INSTRUCTIONS: PACK OF 100 NOS | NR | NR | NR | PKT | 2640
22 | 80133 | CELL - BIG - SIZE D | CELL - BIG - SIZE D | NR | NR | NR | NOS | 1800
23 | 80142 | SCRUBBER - PLASTIC | SCRUBBER - PLASTIC | NR | NR | NR | NOS | 4800
24 | 80162 | COTTON ROLL - ABSORBENT | MATERIAL NAME: ABSORBENT COTTON ROLL WEIGHT: 400 GRAMS (EXCLUDING WRAPPER) TYPE: NON-STERILE PACKING INSTRUCTIONS: 50 ROLLS PER BUNDLE SPECIAL INSTRUCTIONS: COTTON SHOULD WEIGH 400 GM EXCLUDING WRAPPER | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 8400
25 | 80163 | COTTON ROLL - NON ABSORBENT | MATERIAL NAME: COTTON ROLL – NON ABSORBENT WEIGHT: 400 GRAMS (EXCLUDING WRAPPER) TYPE: NON-STERILE PACKING INSTRUCTIONS: 50 ROLLS PER BUNDLE SPECIAL INSTRUCTIONS: COTTON SHOULD WEIGH 400 GM EXCLUDING WRAPPER | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 4800
26 | 80164 | COVER - PAPER - BROWN - 17 X 23 CM | COVER - PAPER - BROWN - 17 X 23 CM PACKING INSTRUCTION : 100 NOS TO BE RUBBER BOUND | NR | NR | NR | NOS | 42000
27 | 80165 | COVER - BUTTER PAPER - 12 X 18 CM | COVER - BUTTER PAPER - 12 X 18CM TYPE: GLAZED PACKING INSTRUCTION: 100NOS TO BE RUBBER BOUND | NR | NR | NR | NOS | 204000
28 | 80223 | GAUZE - ABSORBENT - 90CM X 18MTS | MATERIAL NAME: ABSORBENT GAUZE ROLL DIMENSIONS: 90 CM X 18 M WEAVE COUNT: WARP: 24 WEFT: 18 TYPE: B.P. TYPE 17 (BRITISH PHARMACOPOEIA STANDARD TYPE) PACKING INSTRUCTIONS: INDIVIDUALLY WRAPPED IN SEALED POLYTHENE COVERS 50 ROLLS IN A POLY BUNDLE LABELLING INSTRUCTIONS: EACH LABEL MUST CLEARLY DISPLAY: MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER, BRAND NAME | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 4200
29 | 80226 | GAUZE - SPONGE - 27 X 27CM | MATERIAL NAME: ABSORBENT GAUZE SPONGE DIMENSIONS: 27 CM X 27 CM TYPE: 8-LAYER SPONGE FEATURES: 4 BLUE RADIOPAQUE LINES IN THE MIDDLE (FOR X-RAY DETECTABILITY)LOOP TAPE STITCHED IN ONE CORNER (FOR EASY RETRIEVAL AND SAFETY) PACKING INSTRUCTIONS: 25 SPONGES PER SEALED PACK 80 PACKS IN A POLY BUNDLE LABELLING INSTRUCTIONS: EACH PACK MUST CLEARLY DISPLAY: COMPANY NAME, MANUFACTURING DATE, BATCH NUMBER, SIZE | CDSCO registration certificate under MDR-MD5, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | NOS | 648000
30 | 80227 | GAUZE - FOLDED - 7.5 X 7.5CM | MATERIAL NAME: GAUZE – FOLDED DIMENSIONS: 7.5 CM X 7.5 CM TYPE: 12-PLY FOLDED GAUZE WEAVE COUNT: WARP: 24 WEFT: 18 STANDARD: B.P. TYPE 17 (BRITISH PHARMACOPOEIA STANDARD TYPE) PACKING INSTRUCTIONS:100 GAUZE PIECES PER PACKET 200 PACKETS IN A CARDBOARD BOX LABELLING INSTRUCTIONS: EACH PACK MUST CLEARLY DISPLAY: COMPANY NAME, MANUFACTURING DATE, BATCH NUMBER, SIZE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 52800
31 | 80229 | DRESSING PAD - 10 X 10 CM | MATERIAL NAME: DRESSING PAD – ABSORBENT DIMENSIONS: 10 CM X 10 CM WEIGHT: 5–6 GRAMS TYPE: UNSTERILE MATERIAL: MADE OF SURGICAL ABSORBENT COTTON PACKING INSTRUCTIONS: WRAPPED IN GAUZE BANDAGE 100 PADS PER PACK 25 PACKS IN A POLY BUNDLE / CARDBOARD BOX LABELLING INSTRUCTIONS: EACH PACK MUST CLEARLY DISPLAY: COMPANY NAME, MANUFACTURING DATE, BATCH NUMBER, SIZE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 10200
32 | 80243 | SCRUBBER - GREEN PAD - MEDIUM - 7.5 X 10 CM | SCRUBBER - GREEN PAD - MEDIUM - 7.5 X 10 CM | NR | NR | NR | NOS | 9360
33 | 80257 | GEL - ELECTRODE - ECG - 250ML | MATERIAL NAME: ELECTRODE GEL – ECG VOLUME: 250 ML PACKING INSTRUCTIONS: 50 BOTTLES PER CARDBOARD BOX | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 6000
34 | 80291 | LOCK - 6 LEVERS - 50MM | LOCK - 6 LEVERS - 50MM 3 KEYS WITH "CMC" ENGRAVING | NR | NR | NR | NOS | 720
35 | 80308 | MASK - HIGH CONCENTRATION - ADULT | MATERIAL NAME: MASK – HIGH CONCENTRATION (ADULT) SPECIFICATIONS: WITH RESERVOIR BAG TUBING WITH RESPIRATORY INDICATOR ADULT ELONGATED DESIGN | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), IEC 60601 Compliance, Biocompatibility Testing ISO 10993, Performance Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | C | NOS | 3000
36 | 80438 | PAPER - ECG - ROLL - 50 X 20M | PAPER - ECG - ROLL - 50 X 20M ROLL LENGTH: 50 X 20 METRES | NR | NR | NR | NOS | 720
37 | 80449 | CANNULA - NASAL - ADULT | MATERIAL NAME: NASAL TUBING KIT – ADULT | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Performance Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | C | NOS | 6000
38 | 80570 | BAG - POLY ETHYLENE - BROWN - 31" X 35" | BAG - POLYTHENE - BROWN - 31" X 35" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 5-7 BAGS/ KG | NR | NR | NR | NOS | 18720
39 | 80578 | CONTAINER - SHARP - SMALL - PLASTIC | CONTAINER - SHARP - SMALL - PLASTIC CAPACITY: 1.4 LITRES TYPE: DISPOSABLE SECURE COLLECTOR COLOUR: WHITE TRANSLUCENT PUNCTURE RESISTANT | NR | NR | NR | NOS | 49200
40 | 80580 | AUTOCLAVE COVER - 23" X 23" | MATERIAL NAME: AUTOCLAVE COVER – TRANSPARENT SAFE PLASTIC DIMENSIONS: 23" X 23" MATERIAL: POLYPROPYLENE (PP), 380 GSM, WITH PRINTING TYPE: TRANSPARENT PLASTIC COVER FOR AUTOCLAVE USE PACKING INSTRUCTIONS: 10 COVERS PER ROLL 300 ROLLS IN A POLY BUNDLE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 39000
41 | 80581 | BAG - POLY - BROWN - 23" X 23" - PACK OF 5 KGS | BAG - POLYTHENE - BROWN - 23" X 23" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 11-13 BAGS/ KG | NR | NR | NR | NOS | 6000
42 | 80582 | AUTOCLAVE COVER - 32" X 35" | MATERIAL NAME: AUTOCLAVE COVER – TRANSPARENT SAFE PLASTIC DIMENSIONS: 32" X 35" MATERIAL: POLYPROPYLENE (PP), 380 GSM, WITH PRINTING TYPE: TRANSPARENT PLASTIC COVER FOR AUTOCLAVE USE PACKING INSTRUCTIONS: 10 COVERS PER ROLL 250 ROLLS IN A POLY BUNDLE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 26400
43 | 81020 | CUP - SPUTUM COLLECTION | MATERIAL NAME: CUP – SPUTUM COLLECTION SPECIFICATIONS: PROPERLY WAX-COATED INSIDE WITH LID (8 CM DIAMETER) NAME PRINTED: “C.M.C.H SPUTUM CUP” | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 102000
44 | 81031 | WRAPPING SHEET - STERILIZATION - 50 X 50 CM | MATERIAL NAME: STERILIZATION WRAPPING PAPER DIMENSIONS: 50 CM X 50 CM MATERIAL: SMMMS (SPUNBOND-MELTBLOWN-MELTBLOWN-SPUNBOND) 100% POLYPROPYLENE, LATEX-FREE GSM: 45 GSM FEATURES: VALIDATED BACTERIAL FILTRATION EFFICIENCY (BFE ≥ 96%) ANTISTATIC TREATMENT WITH NON-TOXIC AGENTS NO ODOUR, NO LINT EASY TO HANDLE (NON-STICKY) PACKING INSTRUCTIONS: 100 SHEETS PER SEALED POLY PACK 10 POLY PACKS IN A CARDBOARD CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 720000
45 | 81032 | WRAPPING SHEET - STERILIZATION - 76 X 76 CM | MATERIAL NAME: STERILIZATION WRAPPING PAPER DIMENSIONS: 76 CM X 76 CM MATERIAL: SMMMS (SPUNBOND-MELTBLOWN-MELTBLOWN-SPUNBOND) 100% POLYPROPYLENE, LATEX-FREE GSM: 45 GSM FEATURES: VALIDATED BACTERIAL FILTRATION EFFICIENCY (BFE ≥ 96%) ANTISTATIC TREATMENT WITH NON-TOXIC AGENTS NO ODOUR, NO LINT EASY TO HANDLE (NON-STICKY) PACKING INSTRUCTIONS: 100 SHEETS PER SEALED POLY PACK 5 POLY PACKS IN A CARDBOARD CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 201600
46 | 81033 | WRAPPING SHEET - STERILIZATION - 91 X 91 CM | MATERIAL NAME: STERILIZATION WRAPPING PAPER DIMENSIONS: 91 CM X 91 CM MATERIAL: SMMMS (SPUNBOND-MELTBLOWN-MELTBLOWN-SPUNBOND) 100% POLYPROPYLENE, LATEX-FREE GSM: 45 GSM FEATURES: VALIDATED BACTERIAL FILTRATION EFFICIENCY (BFE ≥ 96%) ANTISTATIC TREATMENT WITH NON-TOXIC AGENTS NO ODOUR, NO LINT EASY TO HANDLE (NON-STICKY) PACKING INSTRUCTIONS: 100 SHEETS PER SEALED POLY PACK 5 POLY PACKS IN A CARDBOARD CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 240000
47 | 81045 | ADHESIVE - PLASTER - ELASTIC - 10 CM | MATERIAL NAME: PLASTER ADHESIVE – ELASTIC BANDAGE DIMENSIONS: WIDTH: 10 CM LENGTH: 4 M TYPE: ELASTIC ADHESIVE BANDAGE, B.P. FLESH COLOUR PACKING INSTRUCTIONS: INDIVIDUALLY PACKED PER BANDAGE ROLL | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 18600
48 | 81090 | LIQUID SOAP - HAND WASH - 5 L | LIQUID SOAP - HAND WASH - 5 L PACKING INSTRUCTION : 2 NOS IN A CARDBOARD BOX | NR | NR | NR | NOS | 9120
49 | 81092 | SODA LIME - 5KG | CO2 ABSORBENT SODALIME WEIGHT : 4.5 KG WHITE TO VIOLET | NR | NR | NR | NOS | 1200
50 | 81190 | TAPE - AUTOCLAVE - 18 MM X 50 M | MATERIAL NAME: TAPE – AUTOCLAVE INDICATOR DIMENSIONS: 18 MM X 50 M ROLL APPEARANCE:NATURAL COLOUR BASE TAPE PRINTED WHITE INDICATOR LINES LOT NUMBER & EXPIRY DATE PRINTED ON EACH ROLL | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 5520
51 | 81191 | TAPE COTTON - SMALL - 1/2" | MATERIAL NAME: COTTON TAPE – SMALL DIMENSIONS: WIDTH: ½ INCH (12.5 MM) LENGTH: 15 M ROLL TYPE: COTTON-BASED ADHESIVE/SUPPORT TAPE (NON-STERILE) PACKING INSTRUCTIONS: PACK OF 8 ROLLS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 18000
52 | 81197 | THERMOMETER - DIGITAL | MATERIAL NAME: THERMOMETER – DIGITAL (HARD TIP, NON-MERCURY) SPECIFICATIONS: HARD TIP DIGITAL THERMOMETER NON-MERCURY (ELECTRONIC SENSOR-BASED) SINGLE COLOUR CMC LOGO PRINTED ON EACH THERMOMETER PACKING INSTRUCTIONS:10 THERMOMETERS PER CARDBOARD BOX | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), IEC 60601 Compliance, Biocompatibility Testing ISO 10993, Performance Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | NOS | 1800
53 | 88164 | GAUZE - SPONGE - 46 X 46CM | MATERIAL NAME: GAUZE SPONGE SPECIFICATIONS: SIZE: 46 CM X 46 CM 8 LAYERS OF ABSORBENT GAUZE STITCHED ON ALL SIDES FOR DURABILITY TAG ATTACHED TO ONE END FOR IDENTIFICATION AND RETRIEVAL LABELLING INSTRUCTIONS: MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER, AND BRAND NAME | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 5400
54 | 88184 | AIRWAY - GUEDAL - DISPOSABLE - SIZE 3 | MATERIAL NAME: AIRWAY – GUEDEL SPECIFICATIONS: DISPOSABLE SIZE: 3 | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 3240
55 | 88186 | AIRWAY - GUEDAL - DISPOSABLE - SIZE 2 | MATERIAL NAME: AIRWAY – GUEDEL SPECIFICATIONS: DISPOSABLE SIZE: 2 | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 3600
56 | 88187 | AIRWAY - GUEDAL - DISPOSABLE - SIZE 4 | MATERIAL NAME: AIRWAY – GUEDEL SPECIFICATIONS: DISPOSABLE SIZE: 4 | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 4800
57 | 88357 | GLOVES - EXAMINATION - NITRILE - LARGE | MATERIAL NAME: GLOVES – EXAMINATION SPECIFICATIONS: POWDER-FREE NON-STERILE AMBIDEXTROUS DESIGN SIZE: LARGE LABELLING INSTRUCTIONS: “FOR CMC USE ONLY” MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER PACKING INSTRUCTIONS: 1 BOX OF 100 GLOVES WITH TEAR-TOP OPENING 10 BOXES PER CARDBOARD CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Performance Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | BOX | 66000
58 | 88358 | GLOVES - EXAMINATION - NITRILE - MEDIUM | MATERIAL NAME: GLOVES – EXAMINATION SPECIFICATIONS: WEIGHT: 3.5 GM PER GLOVE POWDER-FREE NON-STERILE AMBIDEXTROUS DESIGN SIZE: MEDIUM LABELLING INSTRUCTIONS: “FOR CMC USE ONLY” MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER PACKING INSTRUCTIONS: 1 BOX OF 100 GLOVES WITH TEAR-TOP OPENING 10 BOXES PER CARDBOARD CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Performance Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | BOX | 170400
59 | 88359 | GLOVES - EXAMINATION - NITRILE - SMALL | MATERIAL NAME: GLOVES – EXAMINATION SPECIFICATIONS: POWDER-FREE NON-STERILE AMBIDEXTROUS DESIGN SIZE: SMALL LABELLING INSTRUCTIONS: “FOR CMC USE ONLY” MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER PACKING INSTRUCTIONS:1 BOX OF 100 GLOVES WITH TEAR-TOP OPENING 20 BOXES PER MASTER CARTON | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Performance Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | BOX | 36000
60 | 88372 | GLOVES - SURGICAL - STERILE - POWDERED - 6.0" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS: STERILE POWDERED SIZE: 6" SUPPLIED IN TEAR-DOWN POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-OPEN FEATURE, 10 BOXES IN A CARDBOARD CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET ALONG WITH “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 480
61 | 88375 | GLOVES - SURGICAL - STERILE - POWDERED - 6.5" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS: STERILE POWDERED SIZE: 6.5" SUPPLIED IN TEAR-DOWN POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-OPEN FEATURE, 10 BOXES IN A CARDBOARD CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET ALONG WITH “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 7440
62 | 88378 | GLOVES - SURGICAL - STERILE - POWDERED - 7" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS: STERILE POWDERED SIZE: 7" SUPPLIED IN TEAR-DOWN POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-OPEN FEATURE, 10 BOXES IN A CARDBOARD CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET ALONG WITH “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 6840
63 | 88381 | GLOVES - SURGICAL - STERILE - POWDERED - 7.5" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS: STERILE POWDERED SIZE: 7.5" SUPPLIED IN TEAR-DOWN POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-OPEN FEATURE, 10 BOXES IN A CARDBOARD CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET ALONG WITH “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 3960
64 | 88384 | GLOVES - SURGICAL - STERILE - POWDERED - 8" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS:STERILE POWDERED SIZE: 8" (POLYMER COATED FOR DONNING EASE) SUPPLIED IN TEAR-DOWN POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-OPEN FEATURE, 10 BOXES IN A CARDBOARD CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET ALONG WITH “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 240
65 | 88386 | GLOVES - SURGICAL - STERILE - POWDER FREE - 6.0" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS:WEIGHT: 9.3 G PER GLOVE STERILE POWDER-FREE (POLYMER COATED FOR DONNING EASE) SIZE: 6" SUPPLIED IN PEEL-OFF POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-TOP OPENING, 10 BOXES IN A MASTER CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET BOX AND POUCH PRINTING: “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 240
66 | 88389 | GLOVES - SURGICAL - STERILE - POWDER FREE - 7" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS:WEIGHT: 9.3 G PER GLOVE STERILE POWDER-FREE (POLYMER COATED FOR DONNING EASE) SIZE: 7" SUPPLIED IN PEEL-OFF POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-TOP OPENING, 10 BOXES IN A MASTER CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET BOX AND POUCH PRINTING: “FOR CMC USE ONLY" | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 6120
67 | 88390 | GLOVES - SURGICAL - STERILE - POWDER FREE - 6.5" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS: WEIGHT: 9.3 G PER GLOVESTERILE POWDER-FREE (POLYMER COATED FOR DONNING EASE) SIZE: 6.5" SUPPLIED IN PEEL-OFF POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-TOP OPENING, 10 BOXES IN A MASTER CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET BOX AND POUCH PRINTING: “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 8040
68 | 88392 | GLOVES - SURGICAL - STERILE - POWDER FREE - 7.5" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS:WEIGHT: 9.3 G PER GLOVE STERILE POWDER-FREE (POLYMER COATED FOR DONNING EASE) SIZE: 7.5" SUPPLIED IN PEEL-OFF POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-TOP OPENING, 10 BOXES IN A MASTER CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET BOX AND POUCH PRINTING: “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 3600
69 | 88394 | GLOVES - SURGICAL - STERILE - POWDER FREE - 8" | MATERIAL NAME: GLOVES – SURGICAL SPECIFICATIONS:WEIGHT: 9.3 G PER GLOVE STERILE POWDER-FREE (POLYMER COATED FOR DONNING EASE) SIZE: 8" SUPPLIED IN PEEL-OFF POLY POUCH PACKING INSTRUCTIONS: 1 BOX OF 50 PAIRS WITH TEAR-TOP OPENING, 10 BOXES IN A MASTER CARTON LABELLING INSTRUCTIONS: BATCH NUMBER PRINTED ON PACKET BOX AND POUCH PRINTING: “FOR CMC USE ONLY” | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 360
70 | 88445 | AIR FRESHNER 220 ML | AIR FRESHNER - 220 ML | NR | NR | NR | NOS | 4080
71 | 88448 | CAUTERY TIP CLEANER | MATERIAL NAME: CAUTERY TIP CLEANER PACKING INSTRUCTIONS: 100 PIECES PER BOX | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993 & Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 3600
72 | 88449 | CAUTERY BAG DISPOSABLE STERILE | MATERIAL NAME: CAUTERY BAG SPECIFICATIONS: STERILE PACK SINGLE-USE | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | NOS | 7200
73 | 88460 | SWAB - GAUZE - PLAIN - NON STERILE - 7.5 X 7.5CM | MATERIAL NAME: GAUZE SWAB SPECIFICATIONS: SIZE: 7.5 CM X 7.5 CM 12 PLY ABSORBENT GAUZE, EDGES FOLDED BP TYPE 17 STANDARD X-RAY DETECTABLE THREAD INCORPORATED FOR SAFETY NON-STERILE SUPPLY PACKING INSTRUCTIONS: BOX OF 100 PIECES | CDSCO registration certificate under MDR, ISO 13485:2016, IS 4747 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 2400
74 | 88475 | CONTAINER - SHARP - POLYPROPYLENE - 5L/ GR-912 | SHARP CONTAINER MATERIAL : POLYPROPYLENE CAPACITY : 5L | NR | NR | NR | NOS | 1200
75 | 88528 | GEL - ULTRASOUND - 260 ML | MATERIAL NAME: GEL – ULTRASOUND PACK SIZE: 260 ML BOTTLE/TUBE | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 18000
76 | 88543 | BAG - POLYTHENE - WHITE - 12" X 12" | BAG - POLYTHENE - WHITE - 12" X 12" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 46-48 BAGS/ KG PACK OF 5 KGS | NR | NR | NR | NOS | 3840
77 | 88546 | BAG - POLYTHENE - RED - 31" X 35" | BAG - POLYTHENE - BIOHAZARD - RED - 31" X 35" 120 MICRONS, PACKING INSTRUCTIONS: EACH 5-7 BAGS/ KG, PACKING: 30 KG BAG SHOULD CONTAIN 6 NOS OF 5 KG BUNDLES. EACH 5KG BUNDLE SHOULD TIED WITH A PLASTIC ROPE | NR | NR | NR | NOS | 10800
78 | 88553 | BAG - POLY - BROWN - 16" X 17" - PACK OF 5 KG | BAG - POLYTHENE - BROWN - 16" X 17" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 5 KG/NO. PACK OF 30 KG/BAG EACH 23-25 BAGS/ KG | NR | NR | NR | NOS | 2520
79 | 88555 | BAG - POLY - BIOHAZARD - YELLOW - 16" X 17" | BAG - POLYTHENE - BIOHAZARD - YELLOW - 16" X 17" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 23-25 BAGS/ KG | NR | NR | NR | NOS | 2640
80 | 88556 | BAG - POLY - BIOHAZARD - YELLOW - 23" X 23" | BAG - POLYTHENE - BIOHAZARD - YELLOW - 23" X 23" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 11-13 BAGS/ KG | NR | NR | NR | NOS | 10200
81 | 88557 | BAG - POLY - BIOHAZARD - YELLOW - 31" X 35" | BAG - POLYTHENE - BIOHAZARD - YELLOW - 31" X 35" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 5-7 BAGS/ KG | NR | NR | NR | NOS | 14400
82 | 88561 | BAG - POLY - RED - 23" X 23" | BAG - POLYTHENE - BIOHAZARD - RED - 23" X 23" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 11-13 BAGS/ KG | NR | NR | NR | NOS | 5340
83 | 88562 | BAG - POLY - RED - 16" X 17" | BAG - POLYTHENE - BIOHAZARD - RED - 16" X 17" 120 MICRONS PACKING INSTRUCTIONS: PACK OF 30 KG/BAG EACH 23-25 BAGS/ KG | NR | NR | NR | NOS | 1800
84 | 88563 | GLOVES - EVA - STERILE - 5.5" | MATERIAL NAME: GLOVES – EVA STERILE SIZE: 5.5 INCHES. WITHOUT GRIP (SMOOTH SURFACE) MATERIAL: ETHYLENE VINYL ACETATE (EVA). PACKING INSTRUCTIONS:TEAR-TOP OPEN PACKAGING 1 BOX CONTAINS 50 PAIRS. 30 BOXES PACKED IN A CARDBOARD CARTON. | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 600
85 | 88564 | GLOVES - EVA - STERILE - 6" | MATERIAL NAME: GLOVES – EVA STERILE SIZE: 6 INCHES. WITHOUT GRIP (SMOOTH SURFACE) MATERIAL: ETHYLENE VINYL ACETATE (EVA). PACKING INSTRUCTIONS: TEAR-TOP OPEN PACKAGING 1 BOX CONTAINS 50 PAIRS. 20 BOXES PACKED IN A CARDBOARD CARTON. | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, IS 13422 Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | BOX | 1920
B - SCHEDULE
1 | 10351 | CABLE UTP - CAT6 | UTP CABLE - CAT 6 COLOUR : GREY PACKING INSTRUCTION : COIL OF 305M | NR | NR | NR | FEET | 36000 | COMSCOPE
2 | 12036 | CEMENT - PPC - 50 KGS BAG | 53 GRADE IN HDPE BAGS PACKING INSTRUCTIONS: BAG OF 50 KG NOTE: IF SUPPLY NOT RECEIVED WITHIN THE STIPULATD DUE DATE, PO STANDS CANCELLED WITHOUT ANY FURTHER NOTICE. | NR | NR | NR | BAGS | 3960 | BHARATHI
3 | 15002 | TASKI R2 - HARD SURFACE CLEANER | TASKI R2 - HARD SURFACE CLEANER PACKING INSTRUCTIONS: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 2040 | DIVERSEY
4 | 15003 | TASKI R6 - TOILET BOWL CLEANER | TASKI R6 - TOILET BOWL CLEANER PACKING INSTRUCTIONS: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 6936 | DIVERSEY
5 | 15005 | DISINFECTANT - VIREX II 256 | DISINFECTANT - VIREX II 256 PACKING INSTRUCTIONS: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 5400 | DIVERSEY
6 | 15006 | TASKI R9 - BATHROOM FLOOR CLEANER | TASKI R9 - BATHROOM FLOOR CLEANER PACKING INSTRUCTIONS: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 4608 | DIVERSEY
7 | 15007 | TASKI ROOM FRESHNER - GREEN APPLE | TASKI ROOM FRESHNER - GREEN APPLE PACKING INSTRUCTIONS: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 4272 | DIVERSEY
8 | 15008 | TASKI R3 - GLASS CLEANER CONCENTRATE | TASKI R3 - GLASS CLEANER CONCENTRATE PACKING INSTRUCTION: 5L CAN EACH BOX CONTAINS 2 CANS | NR | NR | NR | CAN/5LTR | 300 | DIVERSEY
9 | 19487 | CABLE TIE - 200MM - TY 200 X 2.5 | CABLE TIE - 200MM - TY 200 X 2.5 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | NR | NR | NR | PKT | 2400 | TYCAB
10 | 19488 | CABLE TIE - 300 MM - TY 300 X 3.6 | CABLE TIE - 300 MM - TY 300 X 3.6 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | NR | NR | NR | PKT | 14820 | TYCAB
11 | 53094 | MASK FACE DISP WITH EAR LOOP 3 LAYERED | MATERIAL NAME: DISPOSABLE FACE MASK MATERIAL: 3-PLY NON-WOVEN FABRIC (OUTER, MIDDLE MELT-BLOWN FILTER, INNER LAYER) ELASTIC EAR LOOPS INTEGRATED NOSE CLIP FOR BETTER FIT PACKING INSTRUCTIONS: 50 MASKS IN A BOX WITH TEAR-TOP 40 BOXES IN A CARDBOARD CARTON (TOTAL 2000 MASKS PER CARTON) | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance (BFE & PFE) | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 2520000 | ROMSONS
12 | 54032 | SHEETING MACKINTOSH 91CM | MACKINTOSH SHEETING WIDTH : 90 CMS WATER PROOF COLOUR : RED & BLUE PACKING INSTRUCTIONS: ROLL OF 30 MTRS EACH | NR | NR | NR | MTRS | 2520 | VIKAMSHI SUPREME
13 | 52117 | GOWN SURGEON'S STERILE DISPOSABLE | MATERIAL NAME: DISPOSABLE SURGEON GOWN (STERILE) MATERIAL: SMMMS (SPUNBOND-MELTBLOWN-MELTBLOWN-MELTBLOWN-SPUNBOND) COLOUR: BLUE WEIGHT: 45–50 GSM FEATURES: RESISTANT TO MICROBIAL PENETRATION WATERPROOF BREATHABLE FLUID RESISTANCE: LEVEL 3, PACKING INSTRUCTIONS: GOWNS PACKED IN COVERS MADE OF MEDICAL-GRADE POLYTHENE SHEET ON ONE SIDE AND ORJEVOUS PAPER ON THE OTHER EO (ETHYLENE OXIDE) STERILIZATION INDICATOR INCLUDED | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), sterilization validation ISO 11135,Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | B | NOS | 19080 | AMARYLLIS
14 | 90028 | ERASER - PENCIL | PENCIL 621 PLASTO ERASER PACKING INSTRUCTIONS: 10 NOS IN BOX | NR | NR | NR | NOS | 4400 | APSARA
15 | 90067 | BANDS - ID BRACELETS - NON-LAMINATED - ADULT - PINK - 300 X 26MM | IDENTIFICATION BRACELETS BANDS TAG FOR ADULT MEDICAL GRADE SYNTHETIC PAPER NON-LAMINATED, TYPE : BUTTON LOCK SIZE : 300 X 26MM COLOUR : PINK PAPER : 210 MICRONS PACKING INSTRUCTIONS: 250 NOS PER BOX | NR | NR | NR | BOX | 600 | RAASI
16 | 90068 | BANDS - ID BRACELETS - LAMINATED - ADULT - BLUE | IDENTIFICATION BRACELETS BANDS TAG FOR ADULT MEDICAL GRADE SYNTHETIC PAPER LAMINATED TYPE : BUTTON LOCK SIZE : 300 X 26MM COLOUR : BLUE PAPER : 210 MICRONS PACKING INSTRUCTIONS: 250 NOS PER PACK | NR | NR | NR | BOX | 300 | RAASI
17 | 90074 | BANDS - SHORT STAY - ADULT - BLUE | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : BLUE PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTED AS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 360 | RAASI
18 | 90075 | BANDS - SHORT STAY - ADULT - YELLOW | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : YELLOW PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTED AS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 456 | RAASI
19 | 90076 | BANDS - SHORT STAY - ADULT - RED | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : RED PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTEDAS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 480 | RAASI
20 | 90077 | BANDS - SHORT STAY - ADULT - ORANGE | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : ORANGE PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTED AS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 480 | RAASI
21 | 90078 | BANDS - SHORT STAY - ADULT - GREEN | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : GREEN PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTED AS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 480 | RAASI
22 | 90079 | BANDS - SHORT STAY - ADULT - PINK | SHORT STAY WRIST ID BANDS OPD ID BANDS FOR ADULT COMPOSITE PLASTIC NON TEARABLE WATER PROOF SIZE : 2", LONG (10" X 1") COLOUR : PINK PAPER : 120 MICRON STICKING AREA SERIAL NUMBER TO BE PRINTED - 20,000 EACH PACK CMC EMBLEM AND LOGO PRINTED AS PER SAMPLE PROVIDED PACKING INSTRUCTIONS: 1000 NOS PER BOX | NR | NR | NR | BOX | 360 | RAASI
23 | 90081 | BANDS - ID BRACELETS - ADULT - PINK | IDENTIFICATION BRACELETS BANDS TAG FOR ADULT MEDICAL GRADE SYNTHETIC PAPER LAMINATED TYPE : BUTTON LOCK SIZE : 300 X 26MM COLOUR : PINK PAPER : 210 MICRONS PACKING INSTRUCTIONS: 250 NOS PER BOX | NR | NR | NR | BOX | 192 | RAASI
24 | 90082 | BANDS - ID BRACELETS - ADULT - YELLOW - LABOUR | IDENTIFICATION BRACELETS BANDS FOR ADULT LABOUR ROOM COLOUR : YELLOW SIZE : 10" LOCKTAG SINGLE PRE PRINTED REINFORCED PLASTIC NON TEARABLE WATER PROOF PACKING INSTRUCTIONS: 250 NOS PER BOX | NR | NR | NR | BOX | 120 | RAASI
25 | 91032 | PAPER XEROX - A4 SIZE | XEROX PAPER SIZE : A4 GSM : 75 | NR | NR | NR | REAMS | 24000 | JK COPIER
26 | 91037 | PLATINUM EXTRA DARK PENCIL - BLACK LEAD | BLACK LEAD PENCIL PLATINUM EXTRA DARK WRITING | NR | NR | NR | NOS | 9000 | APSARA
27 | 91039 | MARKER PEN - PERMANENT - REFILLABLE - BLACK - BULLET THICK | MARKER PEN PERMANENT, REFILLABLE, BULLET THICK COLOUR : BLACK PACKING INSTRUCTIONS: 10 NOS IN A PACKET AND 5 PACKETS RAPPED IN A BUNDLE | NR | NR | NR | NOS | 1760 | FLAIR
28 | 91041 | MARKER PEN - PERMANENT - REFILLABLE - RED - BULLET THICK | MARKER PEN PERMANENT, REFILLABLE, BULLET THICK COLOUR : RED PACKING INSTRUCTIONS: 10 NOS IN A PACKET AND 5 PACKETS WRAPPED IN A BUNDLE | NR | NR | NR | NOS | 1200 | FLAIR
29 | 91042 | MARKER PEN - WHITE BOARD - BLUE | WHITE BOARD PEN MARKER REFILLABLE BULLET TIP COLOUR : BLUE PACKING INSTRUCTIONS: 10 NOS IN A PACKET,5 PACKETS WRAPPED IN A BUNDLE | NR | NR | NR | NOS | 4380 | FLAIR
30 | 91043 | MARKER PEN - WHITE BOARD - BLACK | WHITE BOARD PEN MARKER REFILLABLE BULLET TIP COLOUR : BLACK PACKING INSTRUCTIONS: 10 NOS IN A PACKET,5 PACKETS WRAPPED IN A BUNDLE | NR | NR | NR | NOS | 5760 | FLAIR
31 | 91044 | MARKER PEN - OHP - PERMANENT - BLACK | OHP PERMANENT MARKER PEN SUPER FINE TIP COLOUR : BLACK PACKING INSTRUCTIONS: 10 NOS IN A PACKET AND 5 PACKETS WRAPPED IN A BUNDLE | NR | NR | NR | NOS | 7200 | FLAIR
32 | 92003 | PIN - STAPLER | PIN STAPLER PACKING INSTRUCTIONS: 10 NOS IN BOX | NR | NR | NR | PKTS | 24000 | KANGARO
33 | 92013 | STAPLER MACHINE / NO.10 | STAPLER MACHINE PACKING INSTRUCTIONS: 1 NO IN BOX | NR | NR | NR | NOS | 1200 | KANGARO
34 | 80002 | COVER - CAMERA - 2.5M | E.T.O STERILIZED | NR | NR | NR | NOS | 12600 | LEOMED
35 | 80003 | TOILET CLEANER - IN CISTERN | TOILET CLEANER - IN CISTERN NET WEIGHT: (2NOS) 50 EACH = 100 GRAMS COLOUR: AQUAMARINE | NR | NR | NR | NOS | 5520 | HARPIC
36 | 80041 | BROOM - SPECIAL - SUPERIOR - PLASTIC HANDLE - XXL | SPECIAL BROOM WITH PLASTIC INTERTWINED HANDLE | NR | NR | NR | NOS | 4080 | GEETHA
37 | 80063 | CONTAINER - SAMPLE - 50ML | MATERIAL NAME: SAMPLE CONTAINER – 50 ML, MATERIAL: PLASTIC CONTAINER WITH BLUE COLOUR CAP FEATURES: GRADUATION MARKS FOR MEASUREMENT LABELLED FOR IDENTIFICATION. RADIATION STERILIZED, DATE OF STERILIZATION, EXPIRY DATE TO PRINTED ON THE BOX. PACKING INSTRUCTIONS: 100 CONTAINERS PER PACK | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Sterilization validation ISO 11135, Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 840 | ASTRA BIOSCIENCE
38 | 80136 | CELL - PEN TORCH - SIZE R6 | CELL - PEN TORCH - R6 - 1.5 V | NR | NR | NR | NOS | 8400 | PANASONIC
39 | 80198 | VALLEYLAB PATIENT RETURN ELECTRODE - REM - POLYHESIVE II | MATERIAL NAME: PATIENT RETURN ELECTRODE – REM POLYHESIVE II SPECIFICATIONS: CORD LENGTH: 2.7 M (9 FEET) ADHESIVE TYPE: POLYHESIVE II LONGER EXPIRY ELECTRODES TO BE SUPPLIED | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), IEC 60601 Compliance,Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | C | NOS | 10200 | MEDTRONIC
40 | 80199 | ELECTRODE - ECG | MATERIAL NAME: ELECTRODE – ECG MATERIAL: ACRYLIC ADHESIVE BACKING DRY GEL OF HYDROPHILIC SYNTHETIC POLYMER PACKING INSTRUCTIONS: 100 ELECTRODES PER PACKET PACKED WITH 3M FOAM PACKING | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), IEC 60601 Compliance, Biocompatibility Testing ISO 10993, Performance Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | B | PKT | 9960 | 3M
41 | 80439 | PAPER - TOILET - ROLL | PAPER - TOILET - ROLL - 100 GM MATERIAL: CHLORINE FREE TYPE : 2 PLY WEIGHT: 100 GRAMS PACKING INSTRUCTIONS: 50 ROLLS IN A BOX | NR | NR | NR | NOS | 168000 | JK
42 | 80442 | ADHESIVE - PAPER - 1" | MATERIAL NAME: ADHESIVE – PAPER TAPE DIMENSIONS: WIDTH: 1 INCH (2.5 CM) LENGTH: 9.14 M PACKING INSTRUCTIONS: BOX OF 12 ROLLS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 187200 | 3M
43 | 80443 | MICROPORE ADHESIVE - PAPER - 2" | MATERIAL NAME: ADHESIVE – PAPER TAPE DIMENSIONS: WIDTH: 2 INCHES (5 CM) LENGTH: 9.14 M PACKING INSTRUCTIONS: BOX OF 6 ROLLS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 4320 | 3M
44 | 80444 | ADHESIVE - PLASTER - CLOTH - 3" | MATERIAL NAME: PLASTER ADHESIVE TAPE – CLOTH BASED DIMENSIONS: WIDTH: 3 INCHES (7.5 CM) LENGTH: 10 M TYPE: CLOTH ADHESIVE TAPE PACKING INSTRUCTIONS: TUBE OF 4 ROLLS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 5040 | BSN
45 | 81078 | HAND MADE POWDER - SOAP - DETERGENT | DETERGENT SOAP - HAND MADE 1/2 KG PACKET | NR | NR | NR | PKT | 3360 | ARJUN
46 | 81079 | POWDER - CLEANING | POWDER - DISHWASH - 1KG | NR | NR | NR | PKT | 2400 | (POPULA)
47 | 81088 | NEEM SOAP BAR | NEEM SOAP BAR - 700 GRAMS | NR | NR | NR | NOS | 1200 | SARVODAYA
48 | 81317 | CLAMP - UMBILICAL CORD | CLAMP - UMBILICAL CORD | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices),Testing compliance | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 16800 | VITALIYA
49 | 81333 | PENCIL - ESU - BE100 | MATERIAL NAME: ELECTROSURGICAL PENCIL (ESU PENCIL) SPECIFICATIONS: HAND SWITCH CONTROL FOR ACTIVATION (CUT/COAG MODES) SUPPLIED WITH BLADE ELECTRODE STERILE | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Performance Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | C | NOS | 11400 | COMEPA
50 | 88303 | CELL - AA - 1.5 | CELL - AA - 1.5 V | NR | NR | NR | NOS | 25824 | DURACELL
51 | 88305 | CELL - AAA - 1.5V | CELL - AAA - 1.5V | NR | NR | NR | NOS | 12912 | DURACELL
52 | 88363 | GAUZE - SPONGE - PINK - 27 X 27CM | MATERIAL NAME: GAUZE SPONGE SPECIFICATIONS: SIZE: 27 CM X 27 CM 8 PLY ABSORBENT GAUZE STITCHED ON ALL FOUR SIDES FOR DURABILITY BP TYPE 17 STANDARD PINK COLOUR (FOR IDENTIFICATION) PACKING INSTRUCTIONS: 25 SPONGES IN A SEALED POLY BAG 80 POLY BAGS IN A BUNDLE LABELLING INSTRUCTIONS: MANUFACTURING DATE, EXPIRY DATE, LOT NUMBER, BRAND NAME | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, Biocompatibility Testing ISO 10993, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | NOS | 60000 | LATHIKA
53 | 88544 | BLADE - SURGICAL - 10 | MATERIAL NAME: SURGICAL BLADE – NO. 10 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | PKT | 660 | SURGEON ISI
54 | 88545 | BLADE - SURGICAL - 11 | MATERIAL NAME: SURGICAL BLADE – NO. 11 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | PKT | 1400 | SURGEON ISI
55 | 88547 | BLADE - SURGICAL - 15 | MATERIAL NAME: SURGICAL BLADE – NO. 15 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | PKT | 780 | SURGEON ISI
56 | 88548 | BLADE - SURGICAL - 22 | MATERIAL NAME: SURGICAL BLADE – NO. 22 PACKING INSTRUCTIONS: 1 PACKET = 100 NOS | CDSCO registration certificate under MDR, MD-5 license, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Testing compliance, Labelling compliance. | Distribution license, ISO 9001, State Drug Control Registration | B | PKT | 1440 | SURGEON ISI
57 | 88552 | FEEDING CUP - STERILE - 100ML | MATERIAL NAME: FEEDING CUP SPECIFICATIONS: STERILE WITH GRADUATION CAPACITY: 100 ML PACKING INSTRUCTIONS: 1 PACKET = 25 NOS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993, sterilization validation ISO 11135, Testing compliance. | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 600 | ASTRA
58 | 88558 | TUBE - RUBBRA FLEX - 6MM | MATERIAL NAME: TUBE – RUBBRAFLEX INTERNAL DIAMETER: 6 MM PACKING INSTRUCTIONS: ROLL OF 25 METERS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993. | Distribution license, ISO 9001, State Drug Control Registration | A | ROLL | 4320 | ROMSONS
59 | 88559 | TUBE - PVC - MEDICAL GRADE - 5 X 2 MM | MATERIAL NAME: TUBE – PVC MEDICAL GRADE, US CLASS WIDTH: 1/4 INCH WALL THICKNESS: 1/16 INCH PACKING INSTRUCTIONS: CONTINUOUS LENGTH OF 180 METERS PER BOX | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993. | Distribution license, ISO 9001, State Drug Control Registration | A | BOX | 420 | SONA
60 | 88577 | SPATULA - WOODEN | MATERIAL NAME: WOODEN SPATULA PACKING INSTRUCTIONS: 100 UNITS PER PACK | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993. | Distribution license, ISO 9001, State Drug Control Registration | A | PKT | 2250 | MEDIGOLD
61 | 88581 | PLASTER OF PARIS | MATERIAL NAME: PLASTER OF PARIS | CDSCO registration certificate under MDR, ISO 13485:2016, Bureau of Indian Standards (BIS) certification, GMP (Good Manufacturing Practices), Biocompatibility Testing ISO 10993. | Distribution license, ISO 9001, State Drug Control Registration | A | BAG | 840 | RAMARAJU
C - SCHEDULE
1 | 90010 | BELL CLIP - GEM - 26MM - 75 NOS PER PACK | GEM CLIP SIZE : 26MM TRIANGULAR WITH NON-TEAR BRIGHT PLATED PACKING INSTRUCTIONS: PACK OF 75 NOS | NR | NR | NR | PKTS | 2160
2 | 90031 | FILE - INDEX | INDEX BOX FILE LEVER ARCH INDEX FILE WITH STEEL CLIP DOUBLE SIDE PVC LAMINATED WITH LOGO AND NAME PRINTED IN SPINE PACKING INSTRUCTIONS: 4 NOS IN A POLY PACK, 12 POLY PACKS IN A CARDBOARD CARTOON | NR | NR | NR | NOS | 3600
3 | 90032 | FILE - OFFICE | OFFICE FILE GSM : 520 COLOUR : MULTICOLOUR TNAB WITH THICK PLASTIC CLIPS EACH FILE PRINTED ON THE FRONT COVER TOP PORTION AND THREE LINES AT THE BASE FOR WRITING SUBJECT AND NAME OF DEPT PACKING INSTRUCTIONS: 25 NOS IN A BROWN COVER,10 BROWN COVER IN A CARDBOARD CARTON | NR | NR | NR | NOS | 13200
4 | 90033 | FOLDER - OFFICE - 34 X 23 CM | OFFICE FOLDER, SIZE : 34 X 23 CM, GSM : 175 COLOUR : MULTICOLOUR CALICO BINDING AT THE SPINE | NR | NR | NR | NOS | 9360
5 | 91008 | NOTEBOOK - REGISTER - 176 PAGES - LONG | REGISTER NOTEBOOK PAGES : 176 SIZE : LONG NO.2 GSM : 84, L.B.F.C AZURELAND RULED PAPER CMC PRINT REXINE BINDING AT CORNERS AND RIB 2 LB STRAW BOARD NO ADVERTISEMENT AND NAME OF THE SUPPLIER SHOULD NOT BE PRINTED LABEL ON THE FRONT COVER EMBLEM C.M.C. VELLORE 2 LINES IN THE LABEL TO WRITE DEPT AND SUBJECT | NR | NR | NR | NOS | 1440
6 | 91009 | NOTEBOOK - REGISTER - 272 PAGES - LONG | REGISTER NOTEBOOK SIZE : 3 FC, LONG PAGES : 272 GSM : 84 L.B.F.C AZURELAID RULED PAPER CMC PRINT REXINE BINDING AT RIB AND CORNERS 2 LB STRAW BOARD NO ADVERTISEMENT AND NAME OF THE SUPPLIER SHOULD NOT BE PRINTED LABEL ON FRONT COVER EMBLEM C.M.C. VELLORE 2 LINES IN THE LABEL TO WRITE DEPT AND SUBJECT | NR | NR | NR | NOS | 1380
7 | 91011 | NOTEBOOK - REGISTER - 364 PAGES - LONG | REGISTER NOTEBOOK SIZE : 4 FC, LONG GSM : 84 PAGES : 364 L.B.F.C AZURELAID RULED PAPER CMC PRINT REXINE BINDING AT CORNERS AND RIB 2 LB STRAW BOARD NO ADVERTISEMENT AND NAME OF THE SUPPLIER SHOULD NOT BE PRINTED LABEL ON FRONT COVER EMBLEM C.M.C. VELLORE 2 LINES IN THE LABEL TO WRITE DEPT AND SUBJECT | NR | NR | NR | NOS | 1620
8 | 91012 | NOTEBOOK - POCKET - 80 PAGES | POCKET NOTEBOOK SIZE : 15 X 9 CMS GSM : 56 PAGES : 80 WHITE RULED PAPER ORDINARY BINDING CMC EMBLEM ON THE FRONT COVER 2 LINES TO WRITE SUBJECT AND DEPT NAME, C.M.C. VELLORE PACKING INSTRUCTIONS: 10 NOS EACH TO BE RUBBER BOUND PACK | NR | NR | NR | NOS | 22800
9 | 91014 | NOTEBOOK - STUDENT - 192 PAGES - SMALL | STUDENT NOTEBOOK PAGES : 192 GSM : 56 SIZE : SMALL RULED PAPER PAPER COLOUR : WHITE CMC EMBLEM AND CMC VELLORE AND DEPARTMENT PRINTED ON FRONT COVER | NR | NR | NR | NOS | 7800
10 | 91017 | PAPER - BROWN SHEET - 91 X 117 CMS | BROWN SHEET PAPER RIBBED KRAFT SIZE : 91 X 117 CMS GSM : 85-90 BUNDLE REAM 46 KG PACKING INSTRUCTIONS: REAM OF 480 SHEETS | NR | NR | NR | NOS | 23040
11 | 91018 | NOTEBOOK - STUDENT - 192 PAGES - LONG | STUDENT NOTEBOOK PAGES : 192 GSM : 56 SIZE : LONG RULED PAPER PAPER COLOUR : WHITE WITH STRONG BINDING CMC EMBLEM AND CMC VELLORE AND DEPARTMENT PRINTED ON FRONT COVER | NR | NR | NR | NOS | 4200
12 | 91030 | PAPER - WHITE - 1/2 FC SIZE | PAPER GSM : 60 COLOUR : WHITE SIZE : 1/2 FC, 34 X 21 CM MAKE : TNPL PACKING INSTRUCTIONS: 1 REAM OF 100 SHEETS, 5 REAMS IN BROWN COVER | NR | NR | NR | PKTS | 4200
13 | 92016 | RUBBER BAND - SILKY NYLON - 100 GMS | RUBBER BAND MATERIAL : SILKY NYLON SIZE : 1 1/2" WEIGHT : 100 GMS PACKING INSTRUCTIONS: EACH 100 GMS IN PLASTIC ZIPPER POUCHES | NR | NR | NR | NOS | 6360
14 | 99512 | LABEL - CHROMO - WITH WAX RIBBON - 55MM * 25MM | PLAIN CHROMO THERMAL TRANSFER BARCODE LABEL WITH WAX RIBBON SIZE : 55 X 25MM LAYOUT : PORTRAIT 1000 LABELS PER ROLLWAX RESIN RIBBON SIZE : 60MM X 300MTRS 1 RIBBON ROLL USE FOR 10 LABELS ROLL PACKING INSTRUCTIONS: 50 ROLLS IN CARDBOARD BOX | NR | NR | NR | ROLLS | 23400
D - SCHEDULE
1 | 10335 | WIRE - PVC - 2.5 SQ.MM - 1C - GREEN | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 8640
2 | 10337 | WIRE - PVC - 2.5 SQ.MM - 1C - YELLOW | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 3240
3 | 10338 | WIRE - PVC - 2.5 SQ.MM - 1C - BLUE | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 3240
4 | 10339 | WIRE - PVC - 2.5 SQ.MM - 1C - BLACK | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 8640
5 | 10340 | WIRE - PVC - 4 SQ.MM - 1C - RED | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 3240
6 | 10341 | WIRE - PVC - 4 SQ.MM -1C - YELLOW | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 3240
7 | 10342 | WIRE - PVC - 4 SQ.MM -1C - BLUE | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 3240
8 | 10343 | WIRE - PVC - 4 SQ.MM - 1C - BLACK | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 8640
9 | 10344 | WIRE - PVC - 1.5 SQ.MM - 1C - BLACK | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 8640
10 | 10346 | WIRE - PVC - 1.5 SQ.MM - 1C - YELLOW | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 4320
11 | 10347 | WIRE - PVC - 1.5 SQ.MM - 1C - RED | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 6480
12 | 10348 | WIRE - PVC - 1.5 SQ.MM - 1C - GREEN | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 5400
13 | 10349 | WIRE - PVC - 4 SQ.MM - 1C - GREEN | FRAME RETARDANT (FR) PVC INSULATED INDUSTRIAL CABLE TYPE : SINGLE CORE (UNSHEATHED) CONDUCTOR : CLASS 5 GRADE : 1100V PACKING INSTRUCTIONS: COIL OF 90M | NR | NR | NR | MTRS | 5400
14 | 19489 | SHEET - PLYWOOD - 12MM - 6 X 4 FT - BWP 710 | SHEET - PLYWOOD - 12MM - 6 X 4 FT | NR | NR | NR | SHEET | 12
15 | 19490 | SHEET - PLYWOOD - 12MM - 7 X 3 FT - BWP 710 | SHEET - PLYWOOD - 12MM - 7 X 3 FT | NR | NR | NR | SHEET | 36
16 | 19491 | SHEET - PLYWOOD - 19MM - 6 X 4 FT - BWP 710 | SHEET - PLYWOOD - 19MM X 6 X 4 FT | NR | NR | NR | SHEETS | 96
17 | 19493 | SHEET - PLYWOOD - 6 MM - 6 X 3 FT - BWP 710 | SHEET - PLYWOOD - 6MM - 6 X 3 FT | NR | NR | NR | SHEETS | 48
18 | 19494 | SHEET - PLYWOOD - 6MM - 7 X 3 FT - BWP 710 | SHEET - PLYWOOD - 6MM - 7 X 3 FT | NR | NR | NR | SHEETS | 60
19 | 19495 | SHEET - PLYWOOD - 4MM - 8 X 4 FT - BWP 710 | SHEET - PLYWOOD - 4MM - 8 X 4 FT | NR | NR | NR | SHEETS | 36
20 | 19497 | SHEET - PLYWOOD - 12MM - 8 X 4 FT - BWP 710 | SHEET - PLYWOOD - 12MM - 8 X 4 FT | NR | NR | NR | SHEETS | 36
21 | 19498 | SHEET - PLYWOOD - 19MM - 8 X 4 FT - BWP 710 | SHEET - PLYWOOD - 19MM - 8 X 4 FT | NR | NR | NR | SHEETS | 60